## week1.flow.counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 1 | 2004-09-10 | grab sample | Clear @ 163 | ND§ | 415.8273 | 287.5453
Week 1 | 2004-09-10 | grab sample | Gans @ 163 | ND | 485.2564 | 410.2959
Week 1 | 2004-09-10 | grab sample | Devils Icebox Resurgence | 0.3184 | 471.8254 | 207.3588
Week 1 | 2004-09-10 | grab sample | Bonne Femme @ 63 | ND | 105.848 | 59.8425
Week 1 | 2004-09-10 | grab sample | Turkey @ 63 | ND | 1700 | 811.2386
Week 1 | 2004-09-10 | grab sample | Hunters Cave Resurgence | 0.5108 | 45.0577 | 29.6579
Week 1 | 2004-09-10 | grab sample | Bass above Hunters | ND | 179.9044 | 56.7476
Week 1 | 2004-09-10 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 84.9824 | 109.736
Week 1 | 2004-09-10 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 174.1522 | 142.6692
Week 1 | 2004-09-10 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 852.3388 | 710.282
Week 1 | 2004-09-10 | Field Duplicate of clear @ 163 | Clear @ 163 | ND | 266.6667 | 324.498
|  |  | % Duplicate Difference |  | 35.8708 | 11.3876
† | Cubic Feet/Second
‡ | Colony Forming Unit
§ | Not Determined

## week2.flow.counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 2 | 2004-09-15 | grab sample | Clear @ 163 | ND§ | 585.1527 | 468.2274
Week 2 | 2004-09-15 | grab sample | Gans @ 163 | ND | 486.6412 | 505.3235
Week 2 | 2004-09-15 | grab sample | Devils Icebox Resurgence | 0.2683 | 3866.2316 | 2820.2765
Week 2 | 2004-09-15 | grab sample | Bonne Femme @ 63 | ND | 38.0495 | 51.7212
Week 2 | 2004-09-15 | grab sample | Turkey @ 63 | ND | 191.7131 | 159.7191
Week 2 | 2004-09-15 | grab sample | Hunters Cave Resurgence | 1.4706 | 304.6184 | 121.4575
Week 2 | 2004-09-15 | grab sample | Bass above Hunters | ND | 87.0147 | 52.2109
Week 2 | 2004-09-15 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 55.9385 | 145.7996
Week 2 | 2004-09-15 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 1637.5121 | 923.3926
Week 2 | 2004-09-15 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 1441.048 | 1576.087
Week 2 | 2004-09-15 | Field Duplicate of Turkey @ 63 | Turkey @ 63 | ND | 156.3218 | 145.5189
|  |  | % Duplicate Difference |  | 18.4605 | 8.8907
† | Cubic Feet/Second
‡ | Colony Forming Unit
§ | Not Determined

## week3.flow.counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 3 | 2004-09-22 | grab sample | Clear @ 163 | ND§ | 43.9038 | 70.2126
Week 3 | 2004-09-22 | grab sample | Gans @ 163 | ND | 72.7772 | 84.0767
Week 3 | 2004-09-22 | grab sample | Devils Icebox Resurgence | 0.2825 | 343.2579 | 378.2171
Week 3 | 2004-09-22 | grab sample | Bonne Femme @ 63 | ND | 299.4831 | 26.0963
Week 3 | 2004-09-22 | grab sample | Turkey @ 63 | ND | 580.8994 | 484.157
Week 3 | 2004-09-22 | grab sample | Hunters Cave Resurgence | 1.6039 | 225.5673 | 194.4159
Week 3 | 2004-09-22 | grab sample | Bass above Hunters | ND | 14.8337 | 29.6778
Week 3 | 2004-09-22 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 193.9999 | 197.8622
Week 3 | 2004-09-22 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 79.6825 | 113.6138
Week 3 | 2004-09-22 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 1239.4549 | 985.1127
Week 3 | 2004-09-22 | Field Duplicate of Fox Hollow @ Harold Cunningham Rd. | Fox Hollow @ Harold Cunningham Rd. | ND | 1044.3855 | 1664.3015
|  |  | % Duplicate Difference |  | 15.7383 | 40.8092
† | Cubic Feet/Second
‡ | Colony Forming Unit
§ | Not Determined

## week4.flow.counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 4 | 2004-09-28 | grab sample | Clear @ 163 | ND§ | 95.9245 | 60.831
Week 4 | 2004-09-28 | grab sample | Gans @ 163 | ND | 121.1694 | 108.3336
Week 4 | 2004-09-28 | grab sample | Devils Icebox Resurgence |  | 248.1556 | 235.1238
Week 4 | 2004-09-28 | grab sample | Bonne Femme @ 63 | ND | 140.7411 | 110.3317
Week 4 | 2004-09-28 | grab sample | Turkey @ 63 | ND | 366.5307 | 353.1721
Week 4 | 2004-09-28 | grab sample | Hunters Cave Resurgence |  | 29.5217 | 158.0243
Week 4 | 2004-09-28 | grab sample | Bass above Hunters | ND | 65.3616 | 47.6476
Week 4 | 2004-09-28 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 118.6038 | 127.2279
Week 4 | 2004-09-28 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 112.318 | 97.5344
Week 4 | 2004-09-28 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 161.1786 | 118.4171
Week 4 | 2004-09-28 | Field Duplicate of Little Bonne Femme 63 | Bonne Femme @ 63 | ND | 141.5733 | 90.0921
|  |  | % Duplicate Difference |  | 0.58785 | 18.3443
† | Cubic Feet/Second
‡ | Colony Forming Unit
§ | Not Determined

## week2.nutrients
Week # | Sample Date | Sample Type | Sample Location | Lab Tracking # | Lab Sample # | Total Phosphorus | Total Nitrogen | Dissolved Ortho-phosphate-P | Dissolved Ammonia-N | Dissolved Nitrite- + Nitrate-N
[6 empty] | mg/L | mg/L | mg/L | mg/L | mg/L
Week 2 | 2004-09-10 | grab sample | Clear @ 163 | 2348 | 50131 | 0.083 | 0.306 | 0.058 | 0.048 | 0.443
Week 2 | 2004-09-10 | grab sample | Gans @ 163 | 2348 | 50132 | 0.122 | 0.398 | 0.049 | 0 | 0
Week 2 | 2004-09-10 | grab sample | Devils Icebox Resurgence | 2348 | 50133 | 0.2 | 1.528 | 0.145 | 0.064 | 2.417
Week 2 | 2004-09-10 | grab sample | Bonne Femme @ 63 | 2348 | 50134 | 0.063 | 0.603 | 0 | 0.049 | 0
Week 2 | 2004-09-10 | grab sample | Turkey @ 63 | 2348 | 50135 | 0.049 | 0.667 | 0.013 | 0.064 | 0.129
Week 2 | 2004-09-10 | grab sample | Hunters Cave Resurgence | 2348 | 50136 | 0.098 | 0.707 | 0.051 | 0 | 0.363
Week 2 | 2004-09-10 | grab sample | Bass above Hunters | 2348 | 50137 | 0.06 | 1.691 | 0.03 | 0.052 | 1.519
Week 2 | 2004-09-10 | grab sample | Bonne Femme @ Nashville Church Rd. | 2348 | 50138 | 0.053 | 0.456 | 0.016 | 0.033 | 0.126
Week 2 | 2004-09-10 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | 2348 | 50139 | 0.096 | 0.699 | 0.038 | 0.039 | 0.174
Week 2 | 2004-09-10 | grab sample | Fox Hollow @ Harold Cunningham Rd. | 2348 | 50140 | 0.146 | 0.5 | 0.024 | 0.124 | 0
Week 2 | 2004-09-10 | Field Blank | QA/QC‡ | 2348 | 93542 | 0.01 | 0.264 | 0 | 0 | 0
Week 2 | 2004-09-10 | Field Duplicate of Turkey @ 63 | Turkey @ 63 | 2348 | 93543 | 0.046 | 0.618 | 0.009 | 0.091 | 0.293
Week 2 | 2004-09-10 | Lab Blank | QA/QC‡ | 2348 | 93546 | 0 | 0 | 0.015 | 0 | 0
† | Not Applicable |  |  |  |  | 6.1224 | 7.3463 | 30.7692 | 29.6703 | 55.9727
‡ | QA/QC
§ | Not Determined

## week4.YSI
Sample Location | Temperature | Specific Conductance | Dissolved Oxygen | pH | Turbidity
| (oC) | (µS/cm) | (mg/L) |  | (NTU)
Clear @ 163 | 15.3161 | 500.7222 | 8.21 | 7.17 | 0
Gans @ 163 | 14.2262 | 393 | 7.2423 | 7.0208 | 3.9692
Devils Icebox Resurgence | 12.979 | 491.2952 | 9.5048 | 7.0819 | 6.6048
Bonne Femme @ 63 | 16.22 | 131 | 9.0323 | 7.3085 | 45.8846
Turkey @ 63 | 15.1733 | 959.75 | 6.6217 | 7.0483 | 3.325
Hunters Cave Resurgence | 15.17 | 438.25 | 9.8725 | 7.4358 | 3.325
Bass above Hunters | 15.2833 | 524.5833 | 11.5275 | 7.4992 | 0.64167
Bonne Femme @ Nashville Church Rd. | 14.1067 | 437.5083 | 7.36 | 7.1442 | 1.2917
Little Bonne Femme @ Woody Proctor Rd. | 15.2917 | 422.4833 | 7.1942 | 7.2842 | 5.0917
Fox Hollow @ Harold Cunningham Rd. | 15.22 | 498.0333 | 6.6758 | 7.35 | 4.375
Note: All data acquired on 10/1/2003
Procedure: YSI probe placed in water column for at least 5 minutes before data collection;
Data collected for 3-5 minutes with 10 readings collected per minute (one every 6 seconds)
Average of last 2 minutes of data are reported.