## Week 1 Flow & Counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 1 | 2007-05-21 | grab sample | Clear @ 163 | ND§ | 657.3333 | 50
Week 1 | 2007-05-21 | grab sample | Gans @ 163 | ND | 177.5 | 162.5
Week 1 | 2007-05-21 | grab sample | Devils Icebox Resurgence | 0.47315 | 355 | 174.6667
Week 1 | 2007-05-21 | grab sample | Bonne Femme @ 63 | ND | 190 | 20
Week 1 | 2007-05-21 | grab sample | Turkey @ 63 | ND | 136.6667 | 80
Week 1 | 2007-05-21 | grab sample | Hunters Cave Resurgence | 0.45859 | 34 | 4
Week 1 | 2007-05-21 | grab sample | Bass above Hunters | ND | 630 | 447.3333
Week 1 | 2007-05-21 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 30 | 35
Week 1 | 2007-05-21 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 13.3333 | 0
Week 1 | 2007-05-21 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 86.6667 | 40
Week 1 | 2007-05-21 | Duplicate | Gans @ 163 | ND | 88 | 178
† | Cubic Feet/Second |  |  | % Duplicate Difference | 67.42 | 9.1043
‡ | Colony Forming Unit
§ | Not Determined

## Week 2 Flow & Counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 2 | 2007-05-29 | grab sample | Clear @ 163 | ND§ | 220 | 125
Week 2 | 2007-05-29 | grab sample | Gans @ 163 | ND | 125 | 270
Week 2 | 2007-05-29 | grab sample | Devils Icebox Resurgence | 0.34724 | 62.5 | 44.6667
Week 2 | 2007-05-29 | grab sample | Bonne Femme @ 63 | ND | 133.3333 | 100
Week 2 | 2007-05-29 | grab sample | Turkey @ 63 | ND | 1486.6667 | 1220
Week 2 | 2007-05-29 | grab sample | Hunters Cave Resurgence | 0.50247 | 126.6667 | 107.5
Week 2 | 2007-05-29 | grab sample | Bass above Hunters | ND | 100 | 72.5
Week 2 | 2007-05-29 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 520 | 50
Week 2 | 2007-05-29 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 375 | 173.3333
Week 2 | 2007-05-29 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 1030 | 170
Week 2 | 2007-05-29 | Duplicate | Little Bonne Femme @ Woody Proctor Rd. | ND | 1580 | 105
† | Cubic Feet/Second |  | % Duplicate Difference |  | 123.2737 | 49.1018
‡ | Colony Forming Unit
§ | Not Determined

## Week 3 Flow & Counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 3 | 2007-06-05 | grab sample | Clear @ 163 | ND§ | 515 | 363.3333
Week 3 | 2007-06-05 | grab sample | Gans @ 163 | ND | 113.3333 | 54
Week 3 | 2007-06-05 | grab sample | Devils Icebox Resurgence | 0.38496 | 1470 | 555.3333
Week 3 | 2007-06-05 | grab sample | Bonne Femme @ 63 | ND | 237.5 | 139.3333
Week 3 | 2007-06-05 | grab sample | Turkey @ 63 | ND | 447.5 | 205.3333
Week 3 | 2007-06-05 | grab sample | Hunters Cave Resurgence | 0.33134 | 42.6667 | 35.8333
Week 3 | 2007-06-05 | grab sample | Bass above Hunters | ND | 1060 | 830
Week 3 | 2007-06-05 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 320 | 45.3333
Week 3 | 2007-06-05 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 2486.6667 | 125.3333
Week 3 | 2007-06-05 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 1992 | 155
Week 3 | 2007-06-05 | Duplicate | Fox Hollow @ Harold Cunningham Rd. | ND | ND | 139.3333
† | Cubic Feet/Second |  |  | % Duplicate Difference | -- | 10.6455
‡ | Colony Forming Unit
§ | Not Determined

## Week 4 Flow & Counts
Week # | Sample Date | Sample Type | Sample Location | Discharge | Fecal coliform | E. coli
|  |  |  | CFS† | CFU‡/100 mL | CFU/100 mL
Week 4 | 2007-06-12 | grab sample | Clear @ 163 | ND§ | 820 | 100
Week 4 | 2007-06-12 | grab sample | Gans @ 163 | ND | 660 | 20
Week 4 | 2007-06-12 | grab sample | Devils Icebox Resurgence | 0.31321 | 266.6667 | 360
Week 4 | 2007-06-12 | grab sample | Bonne Femme @ 63 | ND | 210 | 153.3333
Week 4 | 2007-06-12 | grab sample | Turkey @ 63 | ND | 830 | 540
Week 4 | 2007-06-12 | grab sample | Hunters Cave Resurgence | 0.11933 | 33.3333 | 30
Week 4 | 2007-06-12 | grab sample | Bass above Hunters | ND | 200 | 60
Week 4 | 2007-06-12 | grab sample | Bonne Femme @ Nashville Church Rd. | ND | 200 | 86.6667
Week 4 | 2007-06-12 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | ND | 130 | 40
Week 4 | 2007-06-12 | grab sample | Fox Hollow @ Harold Cunningham Rd. | ND | 166.6667 | 160
Week 4 | 2007-06-12 | Duplicate | Fox Hollow @ Harold Cunningham Rd. | ND | 300 | 146.6667
† | Cubic Feet/Second |  |  | % Duplicate Difference | 57.1429 | 8.6957
‡ | Colony Forming Unit
§ | Not Determined

## Week 4 Nutrients
Sample Date | Sample Type | Sample Location | Lab Tracking # | Lab Sample # |  | Total Phosphorus | Dissolved Ortho-phosphate-P | Total Nitrogen | Dissolved Ammonia-N | Dissolved Nitrite- + Nitrate-N
[6 empty] | mg/L | mg/L | mg/L | mg/L | mg/L
[5 empty] | LODH | 0.005 | 0.005 | 0.1 | 0.02 | 0.1
2007-06-12 | grab sample | Clear @ 163 | 2856 | 50474 |  | 0.048176 | 0.012772 | 0.26058 | 0.026615 | 0.1
2007-06-12 | grab sample | Gans @ 163 | 2856 | 50475 |  | 0.036338 | 0.02126 | 0.48782 | 0.02 | <0.100
2007-06-12 | grab sample | Devils Icebox Resurgence | 2856 | 50476 |  | 0.10404 | 0.077801 | 1.3988 | 0.023219 | 1.2742
2007-06-12 | grab sample | Bonne Femme @ 63 | 2856 | 50477 |  | 0.052222 | <0.005 | 0.37345 | 0.027502 | 0.1
2007-06-12 | grab sample | Turkey @ 63 | 2856 | 50478 |  | 0.043564 | 0.004875 | 0.64147 | 0.090886 | 0.15865
2007-06-12 | grab sample | Hunters Cave Resurgence | 2856 | 50479 |  | 0.036146 | 0.027801 | 0.60391 | 0.11558 | 0.42599
2007-06-12 | grab sample | Bass above Hunters | 2856 | 50480 |  | 0.00581 | <0.005 | 1.4285 | 0.041841 | 0.95762
2007-06-12 | grab sample | Bonne Femme @ Nashville Church Rd. | 2856 | 50481 |  | 0.015478 | <0.005 | 0.56712 | <0.020 | <0.100
2007-06-12 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | 2856 | 50482 |  | 0.075855 | 0.022103 | 0.6608 | 0.040486 | 0.24274
2007-06-12 | grab sample | Fox Hollow @ Harold Cunningham Rd. | 2856 | 50483 |  | 0.44352 | 0.085684 | 2.5019 | <0.020 | <0.100
2007-06-12 | Field Blank‡ | QA/QC | 2856 | 94798 |  | <0.005 | <0.005 | 0.2895 | <0.020 | <0.100
2007-06-12 | Duplicate‡ | Bonne Femme @ Nashville Church Rd. | 2856 | 94797 |  | 0.013907 | <0.005 | 0.46106 | <0.020 | <0.100
† | Limit of Detection |  |  |  | % Duplicate Difference | 10.6961 | -- | 20.6322 | -- | --
‡ | QA/QC
§ | Not Determined
Significant N detected in Field Blank; Total N data corrected by subtracting determined value from the blank value

## Week 4 YSI
Sample Location | Temperature | pH | Specific Conductance | Dissolved Oxygen | Dissolved Oxygen | Turbidity
| (oC) |  | (µS/cm) | (mg/L) | % Saturation | (NTU)
Clear @ 163 | 25.0395 | 6.996 | 475.575 | 13.0455 | 158.175 | 16.645
Gans @ 163 | 27.117 | 7.509 | 471.59 | 12.931 | 162.8 | 16.38
Devils Icebox Resurgence | 13.1795 | 5.6655 | 496.94 | 12.939 | 123.445 | 21.325
Bonne Femme @ 63 | 24.6595 | 6.877 | 557.535 | 7.013 | 84.455 | 26.71
Turkey @ 63 | 24.951 | 6.972 | 855.275 | 7.761 | 94.065 | 25.68
Hunters Cave Resurgence | 15.93 | 7.3425 | 488.455 | 10.9325 | 110.73 | 18.06
Bass above Hunters | 21.1895 | 7.243 | 575.995 | 10.9225 | 123.18 | 16.905
Bonne Femme @ Nashville Church Rd. | 25.341 | 5.9985 | 463.17 | 9.9295 | 121.065 | 18.27
Little Bonne Femme @ Woody Proctor Rd. | 23.6 | 6.2925 | 555.4 | 6.8205 | 80.52 | 31.7
Fox Hollow @ Harold Cunningham Rd. | 21.556 | 7.006 | 561.62 | 9.2755 | 105.34 | 38.35
Note all data was collected on 6/12/2007
Procedure: YSI probe placed in water column for at least 5 minutes before data collection;
Data collected for 5 minutes with 10 readings collected per minute (one every 6 seconds)
Average of last 2 minutes of data are reported.

## Week 4 Herbicides
Week # | Sample Date | Sample Type | Sample Location | Lab Track # | Lab Sample # |  | Deisopropylatrazine | Deethylatrazine | Atrazine | Metribuzin | Acetachlor | Alachlor | Metolachlor
[7 empty] | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
[6 empty] | LOD† | 0.01 | 0.005 | 0.003 | 0.01 | 0.006 | 0.005 | 0.002
Week 4 | 2007-06-12 | grab sample | Clear @ 163 | 2856 | 50474 |  | 0.29285 | 0.084259 | 0.079587 | 0.040178 | <0.006 | <0.005 | 0.014218
Week 4 | 2007-06-12 | grab sample | Gans @ 163 | 2856 | 50475 |  | <0.010 | 0.059522 | 0.096103 | <0.010 | <0.006 | <0.005 | 0.007068
Week 4 | 2007-06-12 | grab sample | Devils Icebox Resurgence | 2856 | 50476 |  | 0.12144 | 0.12321 | 0.10325 | <0.010 | <0.006 | <0.005 | 0.007765
Week 4 | 2007-06-12 | grab sample | Bonne Femme @ 63 | 2856 | 50477 |  | <0.010 | 0.11995 | 0.23768 | <0.010 | <0.006 | <0.005 | 0.021885
Week 4 | 2007-06-12 | grab sample | Turkey @ 63 | 2856 | 50478 |  | 0.39112 | 0.19682 | 0.40353 | <0.010 | <0.006 | 0.007492 | 0.0095929
Week 4 | 2007-06-12 | grab sample | Hunters Cave Resurgence | 2856 | 50479 |  | <0.010 | 0.15776 | 0.2341 | <0.010 | <0.006 | <0.005 | <0.002
Week 4 | 2007-06-12 | grab sample | Bass above Hunters | 2856 | 50480 |  | <0.010 | 0.12845 | 0.13033 | <0.010 | <0.006 | <0.005 | <0.002
Week 4 | 2007-06-12 | grab sample | Bonne Femme @ Nashville Church Rd. | 2856 | 50481 |  | 0.16049 | 0.13988 | 0.21847 | <0.010 | <.0006 | <0.005 | <0.002
Week 4 | 2007-06-12 | grab sample | Little Bonne Femme @ Woody Proctor Rd. | 2856 | 50482 |  | 0.15958 | 0.060723 | 0.082298 | <0.010 | <0.006 | <0.005 | 0.013581
Week 4 | 2007-06-12 | grab sample | Fox Hollow @ Harold Cunningham Rd. | 2856 | 50483 |  | 0.095252 | 0.022701 | 0.05794 | <0.010 | <0.006 | 0.0088305 | 0.0064912
Week 4 | 2007-06-12 | Field Duplicate‡ | Bonne Femme @ Nashville Church Rd. | 2856 | 94797 |  | 0.17186 | 0.16782 | 0.20258 | <0.010 | <.0006 | <0.005 | <0.002
Week 4 | 2007-06-12 | Field Blank | QA‡ | 2856 | 94798 |  | <0.010 | <0.005 | <0.003 | <0.010 | <0.006 | <0.005 | <0.002
[6 empty] | % Duplicate Difference | 6.839 | 18.1603 | 7.5441 | -- | -- | -- | --
† | Limit of detection
‡ | QA = Quality Assurance sample